## page 1
WATER SUPPLY
CAPACITY MANAGEMENT PLAN
Worksheets and Summary
Updated February 25, 2016
SYSTEM AND PLAN SUBMITTAL INFORMATION
Name of the water supply system:
County and municipality, if applicable:
Population served:
Number of connections:
Name of person completing plan:
Date of plan submittal:
IV. | ELEMENTS OF A WATER SUPPLY CAPACITY MANAGEMENT PLAN
Please refer to the appropriate sections of the Guidance Document for Developing Water Supply
Capacity Management Plans. Include any assumptions into this worksheet, as applicable.
NOTE: gpd = gallons per day; gpm = gallons per minute; gpcd = gallons per capita per day;
gph = gallons per hour; gal = gallons; hrs = hours; PF = peaking factor
A. DETERMINE THE EXISTING WATER DEMAND
A-1 Provide the Annual Average Daily Demand (AADD) for each of the previous 5 years.
|  |  |  | 20__ |  | gpd
|  |  |  | 20__ |  | gpd
|  |  |  | 20__ |  | gpd
|  |  |  | 20__ |  | gpd
|  |  |  | 20__ |  | gpd
A-2 | Determine the average demand for previous 5 years. |  |  |  |  | gpd
A-3 | Enter the percentage of residential use. |  |  |  |  | %
A-4 | Determine the Annual Average Daily Drought Demand. |  |  |  |  | gpd
A-5 | Provide the Average Daily Demand for the Month of Maximum Use (MMU) for each of
the previous 5 years and determine the Peaking Factor for each year.
| Month | Year | MMU |  | Peaking Factor
|  | 20__ |  | gpd | #DIV/0!
|  | 20__ |  | gpd | #DIV/0!
|  | 20__ |  | gpd | #DIV/0!
|  | 20__ |  | gpd | #DIV/0!
|  | 20__ |  | gpd | #DIV/0!

## page 2
A-6 | Enter the greatest Average Daily Demand during the |  |  | 0 | gpd
Month of Maximum Use from the previous five years.
A-7 | Determine the Average Daily, Maximum Month |  |  |  | gpd
| Drought Demand. |  |  |  | PF
A-8 | List the greatest Maximum Day Demand observed |  |  |  | gpd
| within the previous five years and the date. |  | Date:
A-9 | Determine the Maximum Day Demand. |  |  |  | gpd
PF
A-10 | List the Peak Hour Demand, if data is available. |  |  |  | gph
A-11 | Determine the existing water usage per capita per day. |  |  | #DIV/0! | gpcd
A-12 | Determine the existing Water Usage per connection. |  |  | #DIV/0! | gpd
A-13 | List the percentage of Water Demand attributable to
the following uses:
|  | Residential; |  |  | %
|  | Commercial; and |  |  | %
|  | Industrial |  |  | %
A-14 | If data is available, list the approximate amount of
water lost due to each of the following:
|  | System losses (leaks); |  |  | gpd
|  | Transfers; |  |  | gpd
|  | Meter errors; and |  |  | gpd
|  | Other (specify below) |  |  | gpd
A-15 | Enter the percentage of customers that are metered. |  |  |  | %
B. | ESTIMATE THE POTENTIAL ADDITIONAL WATER DEMAND
B-1 | Determine the potential additional annual average daily |  |  |  | gpd
residential water demand.
B-2 | Determine the potential additional annual average daily |  |  |  | gpd
commercial water demand.
B-3 | Determine the potential additional annual average daily |  |  |  | gpd
industrial water demand.

## page 3
B-4 | Determine the total potential additional annual |  |  | 0 | gpd
average daily water demand.
B-5 | Determine the total potential additional average daily |  |  | 0 | gpd
| water demand during the month of maximum use. |  |  |  | PF
B-6 | Calculate the potential additional maximum |  |  | 0 | gpd
| day demand. |  |  |  | PF
B-7 | Use the table below to record the system's anticipated allocation schedule for each
of the next ten years.
| 20__ |  | 20__ | gpd
| 20__ |  | 20__ | gpd
| 20__ |  | 20__ | gpd
| 20__ |  | 20__ | gpd
| 20__ |  | 20__ | gpd
C. | DETERMINE THE CAPACITY OF THE WATER SUPPLY SYSTEM
C-1 | List all Water Appropriation Permits, Water Purchase Agreements, permit/agreement limits, and indicate if there are Special Conditions that limit withdrawal quantities.
| Permit Number or Purchase Agreement | Well Numbers or Source Names | Annual Average (gpd) | Ave. Day-Max Month or Max Day Amt. (gpd) | Special Conditions?

## page 4
C-2 | Total the Water Appropriation Permit Limits for:
Ground Water :
| a.) | Sum of Annual Average Daily permit limits | [5 empty] | gpd
| b.) | Sum of Average Daily-Maximum Month Permit limits | [5 empty] | gpd
Surface Water:
| c.) | Sum of Annual Average Daily permit limits | [5 empty] | gpd
| d.) | Sum of Maximum Daily Permit limits | [5 empty] | gpd
C-3 | Calculate the total Annual Average Daily permit limits | [5 empty] | 0 | gpd
C-4 | Describe how permits may limit withdrawal quantities due to special conditions or proposed permit revisions.
C-5 | Calculate system's daily production capacity under average climatic conditions.
| Well Name |  | Tag # | In use, standby, or emergency? | Appropriation Permit # | Well Yield (gpm) | *Max hours/day | Daily Production Capacity (gpd)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
C-6 | Total Capacity | [6 empty] | 0
*To calculate daily production capacity for average conditions, multiply the average well yield (gpm) by 24 hours (1440 minutes) only if this pump rate is consistently sustainable. If the pumping rate is not sustainable for 24 hours, use a lesser amount of time in the calculation and explain in the box below.
Note on I9: While this cell will normally be the sum of C-2-a and C-2-c (that is, =I3+I6). This cell may be edited to allow for special circumstances.

## page 5
C-7 | Enter the daily production capacity of highest |  | 0 | gpd
| producing well. | Well Name:
C-8 | Calculate the total system capacity with the largest |  | 0 | gpd
well out of service.
Note: If removal of largest well increases the capacity of another well, adjust the capacity in C-8 accordingly. Explain below:
C-9 | Determine the total reliable drought yield for the following conditions:
| a.) During the Month of Maximum Use |  |  | gpd
| b.) During Peak Day conditions |  |  | gpd
C-10 | Enter the safe-yield of the system.
For the annual average:
| a.) Calculated annual average safe-yield (if available) plus C-8 |  |  | gpd
b.) Annual average surface water permited amount plus C-8
gpd
For the maximum month:
| c.) Calculated monthly maximum safe yield (if available) plus C-9(a) |  |  | gpd
| d.) Annual ave. SW permited amount times PF from A-7 plus C-9(a) |  |  | gpd
C-11 | Enter the total treatment capacity of the water plant(s). |  |  | gpd
C-12 | Enter the pump capacity of the water plant. |  |  | gpd
C-13 | Enter the total system storage capacity. |  |  | gal
C-14 | Enter the maximum fire flow and duration. |  |  | gpm
hrs
C-15 | Enter the storage for fire flow. |  |  | gal
C-16 | Explain how the fire flow and storage values were determined. In what year were these values most recently evaluated?
C-17 | Discuss the frequency of power outages.
C-18 | Is there a back-up power source for treatment and pumping?
If yes, please describe.

## page 6
C-19 | Enter the average day capacity for the wastewater treatment system in the service area. Is additional capacity available at the plant? Explain below.
gpd
C-20 | Are there anticipated future modifications to the appropriation permits?
If yes, explain below.
D. | ESTIMATE THE EXCESS WATER SUPPLY CAPACITY BY DETERMINING THE MOST
LIMITING FACTOR
PART I. ESTIMATE THE EXCESS WATER SUPPLY CAPACITY ABOVE EXISITING DEMAND
Average Day Capacity Limitation
C-3 | Total surface and groundwater annual average daily permit limits | 0 | gpd
C-8 | Total groundwater system capacity with largest well out of service | 0 | gpd
C-10(a),(b) | Safe-yield of the system |  | gpd
C-11 | Treatment capacity | 0 | gpd
C-12 | Pump capacity of treatment plant | 0 | gpd
D-1 | Average Day Capacity Limitation |  | gpd
Excess Average Day Capacity
D-1 | Average Day Capacity Limitation | 0 | gpd
A-4 | Annual Average Daily Drought Demand | 0 | gpd
D-2 | Excess Average Day Capacity | 0 | gpd
Average Daily - Maximum Month Capacity Limitation
C-2(b) | Total Average Daily-Maximum Month Groundwater Permit Limits | 0 | gpd
C-9(a), C-10(c),(d) | Reliable drought yield during Month of Maximum Use |  | gpd
for systems using surface water, enter C-10(c) or (d)
C-11 | Treatment Capacity | 0 | gpd
C-12 | Pump capacity of treatment plant | 0 | gpd
D-3 | Average Daily-Maximum Month Capacity Limitation | 0 | gpd

## page 7
Excess Average Daily - Maximum Month Capacity
D-3 | Average Daily-Maximum Month Capacity limitation | 0 | gpd
A-7 | Average Daily-Maximum Month Drought Demand | 0 | gpd
D-4 | Excess Average Daily-Maximum Month Capacity | 0 | gpd
Maximum Day Capacity Limitation
For Surface Water Systems Only:
C-2(d) | Total Max. Day Surface Water Permit Limits | 0 | gpd
For Combined Surface and Groundwater Systems Only:
C-2(d)+C-9(b) | Tot. Max. Day SW Permit Limits + Peak Day GW Drought Capacity |  | gpd
For Groundwater Systems Only:
C-9(b) | Peak Day Groundwater Drought Capacity | 0 | gpd
C-11 | Treatment Capacity | 0 | gpd
C-12 | Pump Capacity of treatment plant | 0 | gpd
D-5 | Maximum Day Capacity Limitation |  | gpd
Excess Maximum Day Capacity
D-5 | Maximum Day Capacity Limitation | 0 | gpd
A-9 | Maximum Day Demand | 0 | gpd
D-6 | Excess Maximum Day Capacity | 0 | gpd
SUMMARY OF EXCESS EXISTING CAPACITY
D-2 | Excess Average Day Capacity | 0 | gpd
D-4 | Excess Average Daily-Maximum Month Capacity | 0 | gpd
D-6 | Excess Maximum Day Capacity | 0 | gpd

## page 8
D. PART II. ESTIMATE THE EXCESS WATER SUPPLY CAPACITY AVAILABLE FOR
FUTURE ALLOCATION
The three net excess values calculated below indicate the approximate excess capacity (gpd) available for new growth. If an excess capacity value is a negative number, there is a capacity deficit for that demand category.
NAME OF THE WATER SUPPLY SYSTEM:
COUNTY AND MUNICIPALITY, IF APPLICABLE:
SUMMARY OF POTENTIAL ADDITIONAL DEMAND FROM APPROVED
| B-4 | Potential Additional Annual Avg. Daily Demand |  | 0 | gpd
| B-5 | Potential Additional Avg. Daily-Max. Month Demand |  | 0 | gpd
| B-6 | Potential Additional Maximum Day Demand |  | 0 | gpd
ANNUAL AVERAGE DAILY CAPACITY
| D-2 | Excess Average Day Capacity |  | 0 | gpd
| B-4 | Potential Annual Avg. Daily Demand |  | 0 | gpd
| D-7 |  | NET EXCESS | 0 | gpd
AVERAGE DAILY CAPACITY DURING THE MAX. MONTH
| D-4 | Excess Avg. Daily-Max. Month Capacity |  | 0 | gpd
| B-5 | Potential Avg. Daily Demand During Max. Month |  | 0 | gpd
| D-8 |  | NET EXCESS | 0 | gpd
MAXIMUM DAY CAPACITY
| D-6 | Excess Maximum Day Capacity |  | 0
| B-6 | Potential Maximum Day Demand |  | 0
| D-9 |  | NET EXCESS | 0 | gpd
SUMMARY OF EXCESS ADDITIONAL CAPACITY
| D-7 | Excess annual average daily capacity |  | 0 | gpd
| D-8 | Excess average daily capacity during max. month |  | 0 | gpd
| D-9 | Excess maximum day capacity |  | 0 | gpd

## page 9
E. | CONTROL THE ALLOCATION OF NEW CONNECTIONS TO THE WATER SUPPLY SYSTEM
1.) | Describe your jurisdiction’s Adequate Public Facilities Ordinance (APFO) or comparable statute. Attach a copy of the APFO regulations or comparable regulations.
2.) | Describe your jurisdiction’s allocation procedures. Attach a copy of the procedures.
3.) | How frequently are periodic allocation tracking reports produced?
4.) | To whom are these reports distributed?
5.) | During the plat approval process, which agency (or official) ensures that the water supply system has adequate capacity to serve the proposed development?
6.) | During the building permit approval process, which agency (or official) ensures that the water supply system has adequate capacity to serve the proposed development?
7.) | Which agency (or official) controls the allocation of connections to the water supply system?

## page 10
NAME OF THE WATER SUPPLY SYSTEM:
COUNTY AND MUNICIPALITY, IF APPLICABLE:
CONTACT INFORMATION:
List the name, title, address, phone number, fax number, and email address of the elected official or water supply system owner completing this Capacity Management Plan.
Name:
Title:
Address:
Telephone:
Fax:
Email:
CERTIFICATION:
I, |  | hereby certify that it is my professional
opinion that to the best of my knowledge, information, and belief based on data supplied by
the Owner of the water supply system that the attached Water Supply Capacity Management
Plan for (provide system name)
is accurate and complete.
Signature:
Date:
Printed Name: