## DevelopmentCategory
2018-10-17 | [7 empty] | ALLEGANY | MDE
| MDE Sediment & Stormwater Plan Review for State & Federal Projects | [6 empty] | ANNE ARUNDEL
SWM CALCULATOR
[6 empty] | Job # |  | BALTIMORE
|  | Project Description: |  |  |  | Contract # |  | CALVERT
|  | Point of Investigation #: |  |  |  | Date: |  | CAROLINE
|  | MDE Tracking No.: |  |  |  | Designed by: |  | CARROLL
[6 empty] | Reviewed by: |  | CECIL-S. of C & D Canal
| Determine Development Classification for the Reconstruction Activities: | [5 empty] | Version 2 - Oct 2018 | CECIL-N. of C & D Canal
|  |  | County: |  |  |  |  | CHARLES
|  |  | SWM Study Area: | As | acres |  |  | DORCHESTER
|  |  | Existing Impervious Surface Area: | AEXi | acres |  |  | FREDERICK
|  |  | Percent Existing Imperviousness (Report to WQSS Col. D): | %I |  | = ( / ) x 100 |  | GARRETT
|  |  | Development Classification for Reconstruction: |  |  |  |  | HARFORD
HOWARD
KENT
MONTGOMERY
PRINCE GEORGE'S
QUEEN ANNE'S
SOMERSET
ST. MARY'S
TALBOT
WASHINGTON
WICOMICO
WORCESTER
AS: It will correspond to either the site area, project area, LOD, or ROW within the drainage area to the POI.
AEXi: Existing impervious area within selected SWM study area (AS).
Re/New Development ESDv
INSTRUCTIONS: - Push "Clear Input Cells" button to clear old cells data. - For each new POI, complete the "DevelopmentCategory" sheet first by completing all yellow input cells. - Then click “Re/Newdevelopment ESDv" button.
This SWM calculator is based on the MDE’s Stormwater Management (SWM) Overview for State and Federal Projects.
Clear Input Cells

## Sheet1 (hidden)
ESD CALCULATOR USERS GUIDE
Upon opening of the spreadsheet, it will always display "DevelopmentCategory" worksheet.
Clear Input Cells Button: | Click on the button after opening the spreadsheet and before entering any data for a new project. Upon clicking on the buttion, "This command cannot be undone. Are you sure you want to clear all fields? message will display with sub buttion "YES" and "NO". Clicl "YES" This will clear all remnant data from this and "ESDv" worksheets.
Project Information:
Project Description (Cells E4-H4): | Enter the project name or description.
Point of Investigation # (Cells E5-H5): | Enter the number associated with the point of investigation (POI), line of investigation (LOI).
Job # (Cell J3): | Enter the internal project control number.
Contract # (Cell J4): | Enter the project contract number.
Date (Cell J5): | Enter the date of worksheet completion.
Designer (Cell J6): | Enter the initial of assigned designer.
Checked (Cell J7): | Enter the initial of backchecker.
Determine Development Classification for the Reconstruction Activities
County:
SWM Study Area:
Existing Impervious Surface Area:
Percent Existing Imperviousness (WQSS Col. D):
Development Classification for Reconstruction:

## ESDV (hidden)
[17 empty] | 8 | POI # MDE Tracking No.: | YES
MDE Sediment & Stormwater Plan Review for State & Federal Projects | [18 empty] | NO
SWM Calculator
Job #
[6 empty] | Project Description: | [9 empty] | Contract #
[6 empty] | Point of Investigation #: | [9 empty] | Date:
[6 empty] | MDE Tracking No.: | [9 empty] | Designed by:
Reviewed by:
STEP 1 - Site / Drainage Area Data
[8 empty] | Existing Condition Drainage Area: | AE |  |  |  | acres
[8 empty] | Proposed Condition Drainage Area: | AP |  |  |  | acres
[8 empty] | Existing Impervious (Imp.) Area within LOD: | AEi |  |  |  | acres ≫≫≫ Report to WQSS Col. B
[8 empty] | Proposed Imp. Area within LOD: | APi |  |  |  | acres ≫≫≫ Report to WQSS Col. C
[8 empty] | Area for which WQ is Not Req'd (i.e. 3.3.A Waiver): | AMi |  |  |  | acres ≫≫≫ Report to WQSS Col. E
[8 empty] | Loss of Existing Water Quality (Area): | ALi |  |  |  | acres ≫≫≫ Report to WQSS Col. F
[8 empty] | Loss of Existing ESDv/WQv (Volume): | ESDV Loss |  |  |  | cubic feet
[8 empty] | Loss of Existing Recharge (Volume): | Rev Loss |  |  |  | cubic feet
[8 empty] | Reconstructed Imp. Area Already Treated (Area): | ARECi |  |  |  | acres ≫≫≫ Report to WQSS Col. G
Existing Imp. Area outside of LOD Shifted in/out of POI: | [8 empty] | ASHIFT |  |  |  | acres
Will POI qualify for a CpV Waiver under Section 3.3.B of the Guidelines? | [8 empty] | CpVW |  | No
STEP 2 - Determine the Impervious Area Requiring Treatment (IART):
IART from Redevelopment: For Re-dev'l Classification, IARTRE-DEV’L = 50% of (AEI - AMi - ARECi) For New Dev'l Classification, IARTRE-DEV'L = 0 | [7 empty] | IARTRE-DEV’L |  |  |  |  | acres ≫≫≫ Report to ESD Summary Sheet Col. 1 ≫≫≫ Should match WQSS Col. I
IART from New Development: For Re-dev'l Classification, IARTNEW = ∆Ai = APi - AEi For New Dev'l Classification, IARTNEW = APi - AMi - ARECi | [7 empty] | IARTNEW |  |  |  |  | acres ≫≫≫ Report to ESD Summary Sheet Col. 2 ≫≫≫ Should match WQSS Col. J
Total IART: IART = IARTRE-DEV’L + IARTNEW + ALi | [7 empty] | IART |  |  |  |  | acres
STEP 3 - Determine the Required Environmental Site Design Volume for Treating Redevelopment (ESDV RE-DEV’L):
|  |  |  | ESDV RE-DEV’L | = | PE x RV x IARTRE-DEV'L x 3630†, Where: | [8 empty] | † conversion factor (43,560sf/ac)/(12 in/ft)
|  |  |  | PE | = | 1.00 in.
|  |  |  | RV | = | 0.95, RV = 0.05 + (0.009)(I); where: I = 100 %,
|  |  |  | IARTRE-DEV'L | =
[10 empty] | ESDV RE-DEV’L: |  |  | cubic feet ≫≫ Report to ESD Summary Sheet Col. 3
STEP 4 - Determine the Environmental Site Design Volume Reduction from Decreasing Impervious Area (ESDV reducedAi): (for Redevelopment Classification when ΔAi<0)
1. Determine ESDV reducedAi Applied to Project:
|  |  |  | ESDV reducedAi | = | PE x RV x IARTNEW x 3630†, where: | [8 empty] | † conversion factor (43,560sf/ac)/(12 in/ft)
|  |  |  | PE | = | 1.00 in.
|  |  |  | RV | = | 0.95, RV = 0.05 + (0.009)(I); where: I = 100 %,
|  |  |  | IARTNEW | =
[10 empty] | ESDV reducedAi: |  |  | cubic feet≫≫Report to ESD Summary Sheet Col. 4a
2. Determine ESDV reducedAi Applied to POI:
|  |  |  | ESDV reducedAi | = | PE x RV x IARTNEW x 3630†, where: | [8 empty] | † conversion factor (43,560sf/ac)/(12 in/ft)
|  |  |  | PE | = | 2.60 in.* | [8 empty] | *2.6 inches is being used regardless of soil type.
|  |  |  | RV | = | 0.95, RV = 0.05 + (0.009)(I); where: I = 100 %,
|  |  |  | IARTNEW | =
[10 empty] | ESDV reducedAi: |  |  | cubic feet≫≫Report to ESD Summary Sheet Col. 4b
STEP 5 - Determine the Required Environmental Site Design Volume for Treating New Development (ESDV NEW) for POI:
1. Determine ESDV NEW for 3.3.B Waiver:
|  |  |  | ESDV NEW | = | PE x RV x IARTNEW x 3630†, where: | [8 empty] | † conversion factor (43,560sf/ac)/(12 in/ft)
|  |  |  | PE | = | 1.00 in.
|  |  |  | RV | = | 0.95, RV = 0.05 + (0.009)(I); where: I = 100 %,
|  |  |  | IARTNEW | =
[10 empty] | ESDV NEW: |  |  | cubic feet≫≫ Report to ESD Summary Sheet Col. 5a
2. Determine Weighted PE:
|  |  |  | HSG |  |  | % Imperv. (I) |  | IARTNEW |  |  | PE in |  | PE x IARTNEW
|  |  |  | A |  |  | 100% |  |  |  |  | 2.6
|  |  |  | B |  |  | 100% |  |  |  |  | 2.6
|  |  |  | C |  |  | 100% |  |  |  |  | 2.2
|  |  |  | D |  |  | 100% |  |  |  |  | 2
Total
3. Determine ESDV NEW when there is No Waiver or No Impervious Reduction (i.e. ΔAi >=0):
|  |  |  | ESDV NEW | = | Weighted PE x RV x IARTNEW x 3630†, where: | [8 empty] | † conversion factor (43,560sf/ac)/(12 in/ft)
|  |  |  | Weighted PE | = | ∑(PE × IARTNEW)/∑IARTNEW
|  | 0 |  | Weighted PE | =
|  |  |  | RV | = | 0.95, RV = 0.05 + (0.009)(I); where: I = 100 %, | [13 empty] | 2 | <0 | =0 | #VALUE! | #VALUE! | 0
|  |  |  | IARTNEW | =
[10 empty] | ESDV NEW: |  |  | cubic feet≫≫ Report to ESD Summary Sheet Col. 5b
STEP 6 - Determine the Required Environmental Site Design Volume for the Shifted Impervious Area (ESDV SHIFT) in/out of POI:
Determine ESDV SHIFT:
|  |  |  | ESDV SHIFT | = | PE x RV x ASHIFT x 3630†, where: | [8 empty] | † conversion factor (43,560sf/ac)/(12 in/ft)
|  |  |  | PE | = | 2.60 in.* | [8 empty] | *2.6 inches is being used regardless of soil type.
|  |  |  | RV | = | 0.95, RV = 0.05 + (0.009)(I); where: I = 100 %,
|  |  |  | ASHIFT | =
[10 empty] | ESDV SHIFT: |  |  | cubic feet≫≫ Report to ESD Summary Sheet Col. 6
≫≫
STEP 7 - Determine the Required Environmental Site Design Volume from Loss of Existing SWM (ESDV Loss):
[10 empty] | ESDV Loss: |  |  | cubic feet≫≫ Report to ESD Summary Sheet Col. 7
STEP 8 - Determine the Required Environmental Site Design Volume for the POI (ESDV POI):
ESDV POI: ESDV reducedAi (Step 4.2) + ESDV NEW (Step 5.3) + ESDV SHIFT (Step 6) + ESDV Loss (Step 7) | [12 empty] | cubic feet≫≫ Report to ESD Summary Sheet Col. 8
If (AP -AE) > 0, provide separate calculations demonstrating that the Proposed Condition 1-Year Discharge Rate (Q1P) <= the Existing Condition 1-Year Discharge Rate (Q1E).
STEP 9 - Determine the Required Recharge Volume (ReV):
1. Determine Weighted Soil Specific Recharge Factor (S):
|  |  |  | HSG |  |  | S in |  | ANEW ac |  |  | S * ANEW
|  |  |  | A |  |  | 0.38
|  |  |  | B |  |  | 0.26
|  |  |  | C |  |  | 0.13
|  |  |  | D |  |  | 0.07
Total
2. Determine the Required Recharge Volume (ReV NEW) for New Development:
|  |  |  | ReV NEW | = | Weighted S x RV x ANEW x 3630†, where: | [8 empty] | † conversion factor (43,560sf/ac)/(12 in/ft)
|  |  |  | Weighted S | = | ∑(S × ANEW)/∑ANEW
|  |  |  | Weighted S | = | [5 empty] | 0
|  |  |  | RV | = | 0.95, RV = 0.05 + (0.009)(I); where: I = 100 %,
|  |  |  | ANEW | = | IARTNEW, if IARTNEW > 0; otherwise 0.00 acres
|  |  |  | ANEW | =
[9 empty] | Rev NEW: |  |  |  | cubic feet
3. Determine Loss of Existing Recharge Volume (ReV Loss):
[10 empty] | Rev Loss: |  |  | cubic feet
4. Determine Total Recharge Volume (Rev):
[10 empty] | Rev NEW + Rev Loss = Rev: |  |  | cubic feet≫≫ Report to ESD Summary Sheet Col. 10
STEP 10 - Designer's Notes:
Development Category